## Bolded Words
Bolded Words
New York State Department of Health
Wadsworth Center
Clinical Laboratory Evaluation Program
TABLE OF CONTENTS
DEFINITIONS
Acceptability criteria
Alternative assessment
Amended report
Annual
Assistant director(s)
Auditing
Autorelease
Autoverification
Blood bank
.
Category
Certificate of qualification (CQ)
DEFINITIONS
Clinical laboratory
Corrected report
Corrective action
Data integrity
Delegate
Director (Clinical Laboratory Director)
Document control
Equipment
Function check
Health Commerce System (HCS)
DEFINITIONS
Instrument
Laboratory developed test (LDT)
Laboratory management
Monitoring
Nonconformance
Patient
Performance expectations
Performance specification
Performance verification
Preventive action
Process audit
DEFINITIONS
Proficiency testing participation
Quality indicator (QI)
Quality goals
Reagents
Reference laboratory
Root cause analysis
Semiannual
Sole assistant director
Supervisor
System audit
Test process
Quality Management System
Quality Management System
Standard
Guidance
Quality Management System Fundamental Standard of
Practice (QMS FS)
Statutory authority: Article 5, Title 5 Public Health Law
Section 575(2) and (3)
Quality Management System
Standard
Guidance
Quality Management System Standard of Practice 1 (QMS
S1): Quality Goals and Performance Expectations
Quality Management System
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 575(2) and (3),
Regulatory authority: 10 NYCRR subdivision 58-1.2(c) and
paragraph 19.3(c)(3)
Quality Management System Standard of Practice 2 (QMS
S2): Quality Systems Manager
Regulatory authority: 10 NYCRR subdivision 58-1.2(c)
Quality Management System Standard of Practice 3 (QMS
S3): Quality Indicators
Quality Management System
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 575(2) and (3)
Quality Management System Standard of Practice 4 (QMS
S4): Quality Indicator Monitoring
Quality Management System
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 575(2) and (3)
Quality Management System Standard of Practice 5 (QMS
S5): System and Process Audits
Regulatory authority: 10 NYCRR subdivision 58-1.2(c) and
paragraph 19.3(c)(3)
Quality Management System
Standard
Guidance
Quality Management System Standard of Practice 6 (QMS
S6): Quality Management System Documentation
Statutory authority: Article 5, Title 5 Public Health Law
Section 575(2) and (3)
Regulatory authority: 10 NYCRR subdivision 58-1.2(c) and
paragraph 19.3(c)(3)
Quality Management System Standard of Practice 7 (QMS
S7): Management Review
Quality Management System
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.2(c) and
paragraph 19.3(c)(3)
Director Responsibilities
Director Responsibilities
Standard
Guidance
Director Fundamental Standard of Practice (DR FS)
Statutory authority: Article 5, Title 5 Public Health Law
Section 577
Guidance –
Director Standard of Practice 1 (DR S1): Compliance with
Local, State and Federal Statutes and Regulations
Statutory authority: Article 5, Title 5 Public Health Law
Section 575(3)
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Director Responsibilities
Standard
Guidance
Director Standard of Practice 2 (DR S2): Health Commerce
System
Statutory authority: Public Health Law Article 5, Title 5
Sections 575(1)
Director Standard of Practice 3 (DR S3): Director and
Assistant Director Involvement and Time Commitment
Director Responsibilities
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.2(a)
Director Standard of Practice 4 (DR S4): Director
Responsibilities
Director Responsibilities
Standard
Guidance
Director Responsibilities
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.2 and
subdivision 19.3(c)
Director Responsibilities
Standard
Guidance
Director Standard of Practice 5 (DR S5): Document and
Records Accessibility
Statutory authority: Article 5, Title 5 Public Health Law
Section 577
Regulatory authority: 10 NYCRR subdivisions 58-1.10(c)
and 58-1.11(c)
Human Resources
Human Resources
Standard
Guidance
Human Resources Fundamental Standard of Practice (HR
FS)
Statutory authority: Public Health Law Article 5, Title 5
Sections 575(2) and (3)
Human Resources Standard of Practice 1 (HR S1):
Organization Charts and Job Descriptions
Regulatory authority: 10 NYCRR paragraph 19.3(c)(6) and
subdivision 58-1.2(d)
Human Resources
Standard
Guidance
Human Resources Standard of Practice 2 (HR S2):
Personnel Records
Regulatory authority: 10 NYCRR subdivision 58-1.2(d)
Human Resources Standard of Practice 3 (HR S3):
Supervisor Staffing
Human Resources
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.3(d)
Human Resources Standard of Practice 4 (HR S4):
Supervisor Responsibilities
Human Resources
Standard
Guidance
Regulatory authority: 10 NYCRR sections 58-1.3 and 58-1.4
Human Resources Standard of Practice 5 (HR S5): Testing
Personnel Responsibilities
Human Resources
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.5
Human Resources Standard of Practice 6 (HR S6): Training
for Testing and Non-testing Personnel
Human Resources
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.2(d)
Human Resources
Standard
Guidance
Human Resources Standard of Practice 7 (HR S7):
Competency Assessment – Supervisory Personnel
Regulatory authority: 10 NYCRR subdivision 58-1.2(d)
Human Resources
Standard
Guidance
Human Resources Standard of Practice 8 (HR S8):
Competency Assessment – Testing Personnel
Human Resources
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.2(d)
Human Resources Standard of Practice 9 (HR S9):
Competency Assessment – Non-testing Personnel
Human Resources
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.2(d)
Human Resources Standard of Practice 10 (HR S10):
Continuing Education
Regulatory authority: 10 NYCRR subdivision 58-1.2(d)
Facility Design
Facility Design
Standard
Guidance
Facility Design Fundamental Standard of Practice (FD FS)
Statutory authority: Article 5, Title 5 Public Health Law
Sections 575(2) and (3)
Facility Design Standard of Practice 1 (FD S1): Design and
Environment
Facility Design
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.6
Facility Design Standard of Practice 2 (FD S2): Cleanliness,
Monitoring and Controlling the Laboratory Environment
Regulatory authority: 10 NYCRR section 58-1.6
Facility Design
Standard
Guidance
Facility Design Standard of Practice
3 (FD S3): Separation
of Incompatible Activities
Regulatory authority: 10 NYCRR section 58-1.6
Laboratory Safety
Laboratory Safety
Standard
Guidance
Laboratory Safety Fundamental Standard of Practice (LS
FS)
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 1 (LS S1): Safety
Policy and Procedure Approval
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 2 (LS S2): Safety
Policy and Procedure Training
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 3 (LS S3):
Occupational Injuries
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 4 (LS S4):
Occupational Injury Evaluation
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 5 (LS S5):
Occupational Exposure Response Procedures
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 6 (LS S6): Chemical
Hygiene Plan
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 7 (LS S7):
Biohazard Risk Assessment
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 8 (LS S8):
Biohazard Risk Management
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 9 (LS S9):
Biohazard Warning Signs and Labels
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 10 (LS S10):
Personal Protective Equipment for Biohazards
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 11 (LS S11):
Biological Safety Cabinets
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 12 (LS S12):
Sharps
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 13 (LS S13):
Decontamination Procedures
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 14 (LS S14): Food
Storage
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety
Standard
Guidance
Laboratory Safety Standard of Practice 15 (LS S15):
Laboratory Facilities – Biohazards and Chemical Hazards
Laboratory Safety
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety Standard of Practice 16 (LS S16):
Packaging and Shipping Requirements
Regulatory authority: 10 NYCRR paragraph 19.3(c)(14)
Laboratory Safety
Standard
Guidance
Laboratory Safety Standard of Practice 17 (LS S17):
Regulated Medical Waste Management
Regulatory authority: 10 NYCRR paragraph 19.3(c)(11)
Laboratory Information Systems
Laboratory Information Systems
Standard
Guidance
Laboratory Information Systems Fundamental Standard of
Practice (LIS FS)
Statutory authority: Article 5, Title 5 Public Health Law
Sections 575(2) and (3)
Laboratory Information Systems Standard of Practice 1
(LIS S1): Information System Accuracy and Reliability
Regulatory authority: 10 NYCRR subdivision 58-1.2(c)
Laboratory Information Systems
Standard
Guidance
Laboratory Information Systems Standard of Practice 2
(LIS S2): Laboratory Information Systems Standard
Operating Procedure
Regulatory authority: 10 NYCRR subdivision 58-1.2(c)
Laboratory Information Systems
Standard
Guidance
Laboratory Information Systems Standard of Practice 3
(LIS S3): Laboratory Information System Training
Regulatory authority: 10 NYCRR subdivision 58-1.2(c)
Laboratory Information Systems Standard of Practice 4
(LIS S4): Transcription Accuracy
Regulatory authority: 10 NYCRR subdivision 58-1.2(c)
Laboratory Information Systems Standard of Practice 5
(LIS S5): Calculation and Algorithm Verification
Laboratory Information Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.2(c)
Laboratory Information Systems Standard of Practice 6
(LIS S6): Systems Failure
Regulatory authority: 10 NYCRR subdivisions 58-1.2(c) and
58-1.11(c)
Resource Management
Resource Management
Standard
Guidance
Resource Management Fundamental Standard of Practice
(RM FS)
Statutory authority: Article 5, Title 5 Public Health Law
Sections 575(2) and (3)
General Resource Management
General Resource Management Standard of Practice 1
(GRM S1): Continuity of Operations Plan
Resource Management
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(2) and
subdivision 58-1.10(g)
General Resource Management Standard of Practice 2
(GRM S2): Testing Supplies
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
General Resource Management Standard of Practice 3
(GRM S3): Manufacturer Requirements
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Resource Management
Standard
Guidance
General Resource Management Standard of Practice 4
(GRM S4): Verification – General Requirement
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
and section 58-1.6
Resource Management
Standard
Guidance
General Resource Management Standard of Practice 5
(GRM S5): Support Material Verification
Regulatory authority: 10 NYCRR section 58-1.6
General Resource Management Standard of Practice 6
(GRM S6): Expired Supplies
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Resource Management
Standard
Guidance
General Resource Management Standard of Practice 7
(GRM S7): Computer Systems Security
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Laboratory Equipment and Instrument
Laboratory Equipment and Instrument Standard of
Practice 1 (LEI S1): Hardware and Software Settings
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Laboratory Equipment and Instrument Standard of
Practice 2 (LEI S2): Instrument and Equipment Records
Resource Management
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Laboratory Equipment and Instrument Standard of
Practice 3 (LEI S3): Function Checks and Performance
Verification of Instruments, Equipment and Test Systems
Resource Management
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.6
Laboratory Equipment and Instrument Standard of
Practice 4 (LEI S4): Performance Verification After
Relocation
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Laboratory Equipment and Instrument Standard of
Practice 5 (LEI S5): Instruction for Maintenance and
Preventive Maintenance
Regulatory authority: 10 NYCRR section 58-1.6
Laboratory Equipment and Instrument Standard of
Practice 6 (LEI S6): Maintenance and Preventive
Maintenance Records
Resource Management
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.6
Laboratory Equipment and Instrument Standard of
Practice 7 (LEI S7): Managing Defective Equipment and
Instruments
Regulatory authority: 10 NYCRR section 58-1.6
Resource Management
Standard
Guidance
Laboratory Equipment and Instrument Standard of
Practice 8 (LEI S8): Carbon Dioxide Incubators
Regulatory authority: 10 NYCRR section 58-1.6
Laboratory Equipment and Instrument Standard of
Practice 9 (LEI S9): Thermal Cyclers and
Polymerase Chain
Reaction
Regulatory authority: 10 NYCRR section 58-1.6
Resource Management
Standard
Guidance
Reagents and Media
Reagent and Media Standard of Practice 1 (RGM S1):
Reagent and Media Records
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Reagents and Media Standard of Practice 2 (RGM S2):
Verification of Reagents and Media – Control Procedures
Resource Management
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Resource Management
Standard
Guidance
Reagents and Media Standard of Practice 3 (RGM S3):
Labeling
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Reagents and Media Standard of Practice 4 (RGM S4): Kit
Components
Resource Management
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Reagents and Media Standard of Practice 5 (RGM S5):
Reagent and Media Storage
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document Control
Document Control
Standard
Guidance
Document Control Fundamental Standard of Practice (DC
FS)
Statutory authority: Article 5, Title 5 Public Health Law
Sections 575(2) and (3)
Document Control Standard of Practice 1 (DC S1):
Availability
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document Control
Standard
Guidance
Document Control Standard of Practice 2 (DC S2):
Compliance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document Control Standard of Practice 3 (DC S3):
Manufacturer Instruction Manuals
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document Control Standard of Practice 4 (DC S4):
Procedure Excerpts
Document Control
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document Control Standard of Practice 5 (DC S5): Director
Approval
Regulatory authority: 10 NYCRR subdivisions 58-1.2(c) and
58-1.10(g)
Document Control
Standard
Guidance
Document Control Standard of Practice 6 (DC S6):
Controlled Document Archival
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Pre-Analytic Systems
Pre-Analytic Systems
Standard
Guidance
Pre-Analytic Systems Fundamental Standard of Practice
(PRS FS)
Statutory authority: Article 5, Title 5 Public Health Law
Sections 575(2) and (3)
Test Request
Test Request Standard of Practice 1 (TR S1): Specimen
Testing
Regulatory authority: 10 NYCRR subdivisions 58-1.7(a) and
(b)
Pre-Analytic Systems
Standard
Guidance
Test Request Standard of Practice 2 (TR S2): Verbal Test
Request
Regulatory authority: 10 NYCRR paragraph 58-1.7(b)(1)
Test Request Standard of Practice 3 (TR S3): Test Request
Form
Pre-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.10
Test Request Standard of Practice 4 (TR S4): Urgent Test
Request
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Pre-Analytic Systems
Standard
Guidance
Specimen Processing
Specimen Processing Standard of Practice 1 (SP S1):
Specimen Submission Instructions
Pre-Analytic Systems
Standard
Guidance
Pre-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Specimen Processing Standard of Practice 2 (SP S2):
Monitoring Specimen Submissions
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Specimen Processing Standard of Practice 3 (SP S3):
Client Requests for Test Information
Regulatory authority: 10 NYCRR paragraph 19.3(c)(1) and
subdivision 58-1.10(g)
Pre-Analytic Systems
Standard
Guidance
Specimen Processing Standard of Practice 4 (SP
S4):
Acceptance and Rejection Procedure
Regulatory authority: 10 NYCRR subdivision 58-1.10(e)
Specimen Processing Standard of Practice 5 (SP S5):
Accession Procedure and Documentation
Pre-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 58-1.11(b)(1)
Pre-Analytic Systems
Standard
Guidance
Specimen Processing Standard of Practice 6 (SP S6):
Specimen Transport
Regulatory authority: 10 NYCRR subdivision 58-1.10(d)
Specimen Processing Standard of Practice 7 (SP
S7):
Portion or Aliquot Identification and Integrity
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Pre-Analytic Systems
Standard
Guidance
Specimen Processing Standard of Practice 8 (SP S8):
Specimen Storage
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
and paragraph 58-1.11(d)(1)
Reference and Contract Laboratories
Reference and Contract Laboratory Standard of Practice 1
(RCL S1): Reference Laboratory Selection and Use
Regulatory authority: 10 NYCRR subdivisions 58-1.1(b)
and 58-1.10(g)
Pre-Analytic Systems
Standard
Guidance
Reference and Contract Laboratory Standard of Practice 2
(RCL S2): Registry of Reference and Contract Laboratories
Regulatory authority: 10 NYCRR subparagraph 58-
1.11(b)(1)(vi)
Reference and Contract Laboratory Standard of Practice 3
(RCL S3): Performance Assessment of Reference and
Contract Laboratories
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Analytic Systems
Analytic Systems
Standard
Guidance
Analytic Systems Fundamental Standard of Practice (AS
FS)
Statutory authority: Article 5, Title 5 Public Health Law
Sections 575(2) and (3)
Test Procedure Content
Test Procedure Content Standard of Practice 1 (TPC S1):
Test Procedure Content
Analytic Systems
Standard
Guidance
Analytic Systems
Standard
Guidance
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Test Procedure Content Standard of Practice 2 (TPC S2):
Test Procedures for Unidirectional Workflow
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Analytic Systems
Standard
Guidance
Test Performance Specifications
Test Performance Specification Standard of Practice 1
(TPS S1): Manufacturer Instructions
verify
establish
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Test Performance Specification Standard of Practice 2
(TPS S2): Laboratory Developed Tests
Analytic Systems
Standard
Guidance
establish
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Test Performance Specification Standard of Practice 3
(TPS S3): Documentation
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.11(c)(3)
Test Performance Specification Standard of Practice 4
(TPS S4): On-site Performance Specification Requirements
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Test Performance Specification Standard of Practice 5
(TPS S5): Comparability of Test Results
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Calibration and Calibration Verification
Calibration Standard of Practice 1 (CAL S1): Calibration
Process and Documentation
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Calibration Standard of Practice 2 (CAL S2): Periodic
Calibration Verification
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Quality Control
Quality Control Standard of Practice 1 (QC S1): Minimum
Quality Control Requirements
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Analytic Systems
Standard
Guidance
Quality Control Standard of Practice 2 (QC S2):
Individualized Quality Control Risk Assessment
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Quality Control Standard of Practice 3 (QC S3): Design of
an Individualized Quality Control Plan
Analytic Systems
Standard
Guidance
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(3) and
subdivision 58-1.10(g)
Quality Control Standard of Practice 4 (QC S4): Quality
Assessment Plan for Individualized Quality Control Plan
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(3) and
subdivision 58-1.10(g)
Quality Control Standard of Practice 5 (QC S5): Control
Limits
Regulatory authority: 10 NYCRR paragraph 19.3(c)(3) and
subdivision 58-1.10(g)
Quality Control Standard of Practice 6 (QC S6): Assayed
Value Verification
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(3) and
subdivision 58-1.10(g)
Quality Control Standard of Practice 7 (QC S7): Calibration
Material Used as a Quality Control
Regulatory authority: 10 NYCRR paragraph 19.3(c)(3) and
subdivision 58-1.10(g)
Quality Control Standard of Practice 8 (QC S8): Alternative
Means of Quality Control
Regulatory authority: 10 NYCRR paragraph 19.3(c)(4) and
subdivision 58-1.10(g)
Analytic Systems
Standard
Guidance
Quality Control Standard of Practice 9 (QC S9): Control
Implementation
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Quality Control Standard of Practice 10 (QC S10): Control
Routine Analysis
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Quality Control Standard of Practice 11 (QC S11):
Electrophoresis
Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Quality Control Standard of Practice 12 (QC S12): Thin
Layer Chromatography
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Analytic Systems
Standard
Guidance
Quality Control Standard of Practice 13 (QC S13): Control
Records
Regulatory authority: 10 NYCRR paragraph 58-1.11(c)(3)
Quality Control Standard of Practice 14 (QC S14): Control
Review
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Post-Analytic Systems
Post-Analytic Systems
Standard
Guidance
Post-Analytic Systems Fundamental Standard of Practice
(PAS FS)
Statutory authority: Article 5, Title 5 Public Health Law
Sections 575(2) and (3)
Result Review
Result Review Standard of Practice 1 (RR S1): Result
Review Criteria
Post-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(4) and
subdivision 58-1.10(g)
Post-Analytic Systems
Standard
Guidance
Result Review Standard of Practice 2 (RR S2): Acceptable
Differences for Replicate Analyses
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Result Review Standard of Practice 3 (RR S3):
Nonconformance Identification
Post-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(4) and
subdivision 58-1.10(g)
Reporting
Reporting Standard of Practice 1 (REP S1): Authorized
Release of Test Results
Post-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.3 and
subdivision 58-1.10(b) and (g)
Reporting Standard of Practice 2 (REP S2): Test Report
Content
Post-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 58-1.11(b)(2)
Reporting Standard of Practice 3 (REP S3): Reference and
Contract Laboratory Test Reports
Post-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR section 58-1.9
Reporting Standard of Practice 4 (REP S4): Corrected
Reports
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Post-Analytic Systems
Standard
Guidance
Reporting Standard of Practice 5 (REP S5): Timeliness
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Reporting Standard of Practice 6 (REP S6): Alert Value
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Public Health Reporting
Public Health Reporting Standard of Practice 1 (PHR S1):
Required Public Health Reporting
Post-Analytic Systems
Standard
Guidance
Regulatory authority: as noted and 10 NYCRR paragraph
19.3(c)(2)
Public Health Reporting Standard of Practice 2 (PHR S2):
Communicable Disease Confirmation
Post-Analytic Systems
Standard
Guidance
Statutory authority: as noted
Confidentiality
Confidentiality Standard of Practice 1 (CON S1):
Confidentiality Training
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Confidentiality Standard of Practice 2 (CON S2):
Confidentiality Protocol
Post-Analytic Systems
Standard
Guidance
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Confidentiality Standard of Practice 3 (CON S3): Controlled
Records Access
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document and Specimen Retention
Document and Specimen Retention
Standard
Guidance
Document and Specimen Retention Fundamental Standard
of Practice (DSR FS)
Statutory authority: Article 5, Title 5 Public Health Law
Section 576
Document and Specimen Retention Standard of Practice 1
(DSR S1): Quality Assurance Records
Document and Specimen Retention
Standard
Guidance
Regulatory authority:10 NYCRR subdivision 58-1.2(c)
Document and Specimen Retention Standard of Practice 2
(DSR S2): Human Resources, Training and Competency
Records
Document and Specimen Retention
Standard
Guidance
Regulatory authority: 10 NYCRR Subdivision 58-1.2(d)
Document and Specimen Retention Standard of Practice 3
(DSR S3): Controlled Document Retention
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document and Specimen Retention
Standard
Guidance
Document and Specimen Retention Standard of Practice 4
(DSR S4): Laboratory Information System Records
Retention
Regulatory authority: 10 NYCRR subdivision 58-1.2(c)
Document and Specimen Retention Standard of Practice 5
(DSR S5): Verification Records
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Document and Specimen Retention Standard of Practice 6
(DSR S6): Monitoring, Maintenance and Preventive
Maintenance Records
Document and Specimen Retention
Standard
Guidance
Regulatory authority: 10 NYCRR paragraphs 58-
1.11(c)(2),(3),(4)
Document and Specimen Retention Standard of Practice 7
(DSR S7): Test Request and Specimen Processing
Documents
Document and Specimen Retention
Standard
Guidance
Regulatory authority: 10 NYCRR paragraphs 58-1.11(c)(1)
and (2)
Document and Specimen Retention Standard of Practice 8
(DSR S8): Analytic System Records Retention
Document and Specimen Retention
Standard
Guidance
Regulatory authority: 10 NYCRR paragraphs 58-
1.11(c)(2),(3),(4)
Document and Specimen Retention Standard of Practice 9
(DSR S9): Report Retention
Regulatory authority: 10 NYCRR paragraph 58-1.11(c)(5)
Document and Specimen Retention
Standard
Guidance
Document and Specimen Retention Standard of Practice
10 (DSR S10): Specimen Retention
Document and Specimen Retention
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 58-1.11(d)(1)
Document and Specimen Retention Standard of Practice
11 (DSR S11): Proficiency Testing Records Retention
Document and Specimen Retention
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Document and Specimen Retention Standard of Practice
12 (DSR S12): Laboratory Closure
Regulatory authority: 10 NYCRR subdivision 58-1.10(g)
Proficiency Testing
Proficiency Testing
Standard
Guidance
Proficiency Testing Fundamental Standard of Practice (PT
FS)
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 1 (PT S1):
Enrollment, Department Notification and Participation
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 2 (PT S2):
Authorized Release of Proficiency Testing Results
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 3 (PT S3):
Alternative to Proficiency Testing
Proficiency Testing
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(4) and
subdivision 58-1.10(g)
Proficiency Testing Standard of Practice 4 (PT S4): Routine
Analysis
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 5 (PT S5):
Repeated Analysis
.
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 6 (PT S6):
Interlaboratory Communication
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 7 (PT S7):
Proficiency Testing Sample Referral
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 8 (PT S8):
Proficiency Testing Referral Notification
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 9 (PT S9):
Attestation
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 10 (PT S10):
Performance Review – All Results
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 11 (PT S11):
Result Investigation
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 12 (PT S12):
Unsatisfactory and Unacceptable Performance – Remedial
Action
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 13 (PT S13):
Unsuccessful Performance – Remedial Action and
Continued Specimen Testing
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 14 (PT S14):
Unsuccessful Performance – Cessation of Specimen
Testing
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Proficiency Testing Standard of Practice 15 (PT S15):
Unsuccessful Performance – Department Enforcement
Proficiency Testing
Standard
Guidance
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3) and 577
Proficiency Testing Standard of Practice 16 (PT S16):
Proficiency Testing Documentation
Statutory authority: Article 5, Title 5 Public Health Law
Section 576(3)
Investigation and Corrective Action
Investigation and Corrective Action
Standard
Guidance
Investigation and Corrective Action Fundamental Standard
of Practice (ICA FS)
Statutory authority: Article 5, Title 5, Public Health Law
Sections 575(2) and (3)
Investigation and Corrective Action Standard of Practice 1
(ICA S1): Complaint Investigation and Resolution
Investigation and Corrective Action
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(5) and
subdivision 58-1.2(c)
Investigation and Corrective Action Standard of Practice 2
(ICA S2): Procedure and Documentation for Control of
Nonconformities
Investigation and Corrective Action
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(5) and
subdivision 58-1.2(c)
Investigation and Corrective Action Standard of Practice 3
(ICA S3): Actionable Events
Investigation and Corrective Action
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(5) and
subdivision 58-1.2(c)
Investigation and Corrective Action Standard of Practice 4
(ICA S4): Corrective Action Procedure and Documentation
Investigation and Corrective Action
Standard
Guidance
Regulatory authority: 10 NYCRR paragraph 19.3(c)(5) and
subdivision 58-1.2(c)
Investigation and Corrective Action Standard of Practice 5
(ICA S5): Corrective Action Effectiveness
Regulatory authority: 10 NYCRR paragraph 19.3(c)(5) and
subdivision 58-1.2(c)
APPENDIX
Table 1.
Section or Category
Abbreviation
Standard title
Table 2.
Section or Category
Abbreviation
Standard title
Section or Category
Abbreviation
Standard title